| Heat pump water heater |  |  |  |
| --- | --- | --- | --- |
| Model: | HEATANK V2 300 |  |  |
| Manufacturer: | EUROFRED S.A. |  |  |
| Address: | Cl. Marqués de Sentmenat, 97 - 08029 Barcelona - Spain |  |  |
| Denomination : |  |  | Heat pump water heater |
| Intended use: |  |  | hot water |
| Power supply: |  | Ph/V/Hz | 230V~ 50Hz |
| Assembly type: |  |  | single package |
| Refrigerant : |  |  | R134a/ 950g |
| The water heating energy efficiency ηwh : |  | (%) | 117.4 |
| The energy efficiency class of the model, determined in accordance with point 1 of Annex II |  |  | Class A |
| The annual electricity consumption AEC: |  | kWh/annum | 1427 |
| The daily electricity consumption Qelec: |  | kWh | 6.654 |
| The sound power level in dB (indoors）: |  | dB | 57 |
| Mixed water at 40 °C V40 |  | L | 384 |
| Load profiles of water heaters, Type: |  |  | XL |

Load  profiles  of  water  heaters :

| h | XL |  |  |  |
| --- | --- | --- | --- | --- |
|  | Qtap | f | Tm | Tp |
|  | kWh | l/min | ℃ | ℃ |
| 07:00 | 0,105 | 3 | 25 |  |
| 07:05 |  |  |  |  |
| 07:15 | 182 | 6 | 40 |  |
| 07:26 | 0,105 | 3 | 25 |  |
| 07:30 |  |  |  |  |
| 07:45 | 442 | 10 | 10 | 40 |
| 08:01 | 0,105 | 3 | 25 |  |
| 08:05 |  |  |  |  |
| 08:15 | 0,105 | 3 | 25 |  |
| 08:25 |  |  |  |  |
| 08:30 | 0,105 | 3 | 25 |  |
| 08:45 | 0,105 | 3 | 25 |  |
| 09:00 | 0,105 | 3 | 25 |  |
| 09:30 | 0,105 | 3 | 25 |  |
| 10:00 | 0,105 | 3 | 25 |  |
| 10:30 | 0,105 | 3 | 10 | 40 |
| 11:00 | 0,105 | 3 | 25 |  |
| 11:30 | 0,105 | 3 | 25 |  |
| 11:45 | 0,105 | 3 | 25 |  |
| 12:00 |  |  |  |  |
| 12:30 |  |  |  |  |
| 12:45 | 0,735 | 4 | 10 | 55 |
| 14:30 | 0,105 | 3 | 25 |  |
| 15:00 | 0,105 | 3 | 25 |  |
| 15:30 | 0,105 | 3 | 25 |  |
| 16:00 | 0,105 | 3 | 25 |  |
| 16:30 | 0,105 | 3 | 25 |  |
| 17:00 | 0,105 | 3 | 25 |  |
| 18:00 | 0,105 | 3 | 25 |  |
| 18:15 | 0,105 | 3 | 40 |  |
| 18:30 | 0,105 | 3 | 40 |  |
| 19:00 | 0,105 | 3 | 25 |  |
| 19:30 |  |  |  |  |
| 20:00 |  |  |  |  |
| 20:30 | 0,735 | 4 | 10 | 55 |
| 20:45 |  |  |  |  |
| 20:46 | 442 | 10 | 10 | 40 |
| 21:00 |  |  |  |  |
| 21:15 | 0,105 | 3 | 25 |  |
| 21:30 | 442 | 10 | 10 | 40 |
| 21:35 |  |  |  |  |
| 21:45 |  |  |  |  |
| Qref | 19,07 |  |  |  |